## Oxygen Orginal
Measurement Name : | 20190322_test_umbone_industry_larvae |  | Generated On : | 22/03/2019, 17:52:13 |  |  | Calibration details for Oxygen |  |  | Report : | @m01:IDENTIFICATION Serial number : SEBX0007000710 MUX channel : ON - 01 PARAMETERS Sig LED current : 040 Ref LED current : 075 Frequency : 060 Sending interval : 0000 Pulse lenght : 06 Red REF comp. : ON Temperature comp. : ON FIRMWARE ver.4.039.A3.ST : 04/30/07, 09:14:36 @m01:RDY |  | Other Report : | Start Temperature : End Temperature : Start Humidity : End Humidity : Ref.phase Corre : 1 Dig. Ampl.Factor : Mod. Coarse Freq. : Mod. Fine Freq. : Mod. Shape : Mono or Stero : Phase Shift : Sampling Rate : Temp. Corr Slop Coef :
Start Date/Time: | 22/03/2019, 17:18:15 | [5 empty] | Batch No.: | PSt5-1814-01
End Date/Time: | 22/03/2019, 17:51:44 | [5 empty] | O2_cal0 [°] | 54.84
User Comment : | 0 |  | Meas. Created By : | admin |  |  | O2_cal2nd [°] | 47.47
SDR Serial No. : | S-710 | [5 empty] | O2_T0 [°C] | 22.6
Parameter : | Oxygen [cO2 [µmol/L]] | [5 empty] | O2_T2nd [°C] | 22.6
[7 empty] | O2_patm [mbar] | 968
[7 empty] | O2_2nd [% a.s.] | 100
Date/Time | Time/Min. | A1 | B1 | C1 | D1 | A2 | B2 | C2 | D2 | A3 | B3 | C3 | D3 | A4 | B4 | C4 | D4 | A5 | B5 | C5 | D5 | A6 | B6 | C6 | D6 | Tm [°C] | p [mbar] | Salinity [g/1000g] | T_internal [°C] | Error
22.03.19 17:18:18 | 0.05 | 368.3 | 369.43 | 384.25 | 379.67 | 366.6 | 374.54 | 379.67 | 379.67 | 373.97 | 378.53 | 359.83 | 376.82 | 370.56 | 371.7 | 375.11 | 358.14 | 370.56 | 372.84 | 373.4 | 359.27 | 366.6 | 366.03 | 359.27 | 355.89 | 12 | 968 | 0 | 17.22
22.03.19 17:18:33 | 0.3 | 367.16 | 368.3 | 381.96 | 377.96 | 365.47 | 372.27 | 380.25 | 379.1 | 372.84 | 377.96 | 358.14 | 376.25 | 370 | 371.13 | 373.97 | 357.58 | 369.43 | 372.84 | 373.4 | 358.7 | 366.03 | 364.9 | 358.7 | 354.77 | 12 | 968 | 0 | 17.23
22.03.19 17:18:48 | 0.55 | 367.16 | 367.16 | 381.39 | 377.39 | 363.77 | 372.27 | 379.67 | 378.53 | 370.56 | 376.82 | 358.14 | 374.54 | 370 | 370.56 | 373.97 | 356.46 | 369.43 | 372.27 | 373.97 | 359.27 | 366.03 | 365.47 | 358.7 | 354.77 | 12 | 968 | 0 | 17.25
22.03.19 17:23:03 | 4.8 | 365.47 | 361.52 | 379.1 | 381.39 | 367.16 | 369.43 | 384.25 | 383.11 | 379.1 | 379.67 | 363.21 | 381.96 | 372.84 | 373.4 | 373.97 | 358.7 | 374.54 | 377.96 | 380.25 | 366.03 | 376.25 | 376.25 | 371.13 | 367.73 | 12 | 968 | 0 | 17.77
22.03.19 17:23:12 | 4.95 | 364.34 | 360.95 | 377.96 | 381.39 | 365.47 | 368.86 | 384.25 | 382.53 | 379.67 | 379.67 | 362.64 | 381.96 | 372.84 | 372.84 | 373.97 | 358.7 | 374.54 | 377.96 | 380.82 | 364.9 | 375.11 | 376.25 | 371.13 | 367.73 | 12 | 968 | 0 | 17.86
22.03.19 17:23:22 | 5.12 | 363.77 | 360.39 | 377.39 | 381.39 | 363.77 | 368.3 | 383.11 | 382.53 | 378.53 | 378.53 | 362.08 | 381.96 | 372.27 | 372.84 | 373.4 | 359.27 | 374.54 | 377.96 | 379.67 | 364.34 | 376.25 | 375.11 | 370.56 | 366.6 | 12 | 968 | 0 | 17.97
22.03.19 17:23:37 | 5.37 | 360.95 | 358.14 | 375.68 | 379.1 | 362.64 | 366.03 | 381.96 | 380.82 | 376.25 | 377.96 | 360.39 | 379.1 | 371.13 | 372.27 | 372.27 | 357.58 | 372.84 | 377.39 | 379.1 | 363.21 | 373.97 | 373.97 | 368.86 | 364.9 | 12 | 968 | 0 | 18.09
22.03.19 17:23:53 | 5.63 | 359.83 | 357.58 | 375.68 | 378.53 | 361.52 | 367.16 | 381.96 | 380.82 | 376.25 | 377.39 | 360.39 | 379.67 | 371.13 | 372.84 | 372.84 | 357.58 | 372.84 | 377.39 | 379.67 | 363.77 | 373.4 | 372.84 | 369.43 | 364.9 | 12 | 968 | 0 | 18.14
22.03.19 17:24:08 | 5.88 | 358.7 | 357.02 | 375.11 | 377.96 | 360.39 | 366.03 | 381.39 | 379.67 | 375.11 | 376.82 | 359.27 | 377.96 | 370.56 | 372.27 | 372.27 | 356.46 | 372.84 | 376.82 | 379.1 | 363.21 | 373.4 | 372.84 | 368.3 | 364.34 | 12 | 968 | 0 | 18.18
22.03.19 17:24:23 | 6.13 | 358.14 | 355.89 | 375.11 | 377.39 | 359.27 | 366.03 | 380.25 | 379.1 | 373.4 | 376.25 | 359.83 | 376.82 | 370.56 | 372.27 | 372.27 | 355.89 | 372.84 | 377.39 | 379.1 | 362.64 | 372.84 | 372.84 | 368.3 | 363.77 | 12 | 968 | 0 | 18.2
22.03.19 17:24:38 | 6.38 | 357.02 | 355.89 | 373.97 | 376.82 | 358.7 | 365.47 | 380.25 | 377.96 | 373.4 | 376.25 | 358.7 | 375.68 | 370 | 371.7 | 371.13 | 355.89 | 372.84 | 376.25 | 379.1 | 362.08 | 372.27 | 372.27 | 367.73 | 363.77 | 12 | 968 | 0 | 18.22
22.03.19 17:24:53 | 6.63 | 355.89 | 354.77 | 373.97 | 376.25 | 357.02 | 364.34 | 380.25 | 376.82 | 372.27 | 375.68 | 358.14 | 375.11 | 368.86 | 370.56 | 371.13 | 354.77 | 372.27 | 376.25 | 378.53 | 361.52 | 371.7 | 372.27 | 367.16 | 362.64 | 12 | 968 | 0 | 18.22
22.03.19 17:25:08 | 6.88 | 354.77 | 353.65 | 373.4 | 375.68 | 357.02 | 364.9 | 379.1 | 377.39 | 371.13 | 375.68 | 358.14 | 374.54 | 368.86 | 371.7 | 371.13 | 355.33 | 372.27 | 376.25 | 378.53 | 360.95 | 371.7 | 371.7 | 367.16 | 362.64 | 12 | 968 | 0 | 18.22
22.03.19 17:25:23 | 7.13 | 354.77 | 353.65 | 373.4 | 375.68 | 356.46 | 364.9 | 379.1 | 376.25 | 371.13 | 375.68 | 358.14 | 374.54 | 368.86 | 371.7 | 370.56 | 355.33 | 371.7 | 376.25 | 378.53 | 360.95 | 371.13 | 371.7 | 367.16 | 362.64 | 12 | 968 | 0 | 18.23
22.03.19 17:25:38 | 7.38 | 354.77 | 353.65 | 373.4 | 375.68 | 355.33 | 363.77 | 379.67 | 376.25 | 370.56 | 376.25 | 358.14 | 373.4 | 368.3 | 370.56 | 370.56 | 354.77 | 371.7 | 375.11 | 378.53 | 362.08 | 371.13 | 371.13 | 367.16 | 362.64 | 12 | 968 | 0 | 18.22
22.03.19 17:25:53 | 7.63 | 353.09 | 352.53 | 372.27 | 375.11 | 355.33 | 363.21 | 378.53 | 376.25 | 368.86 | 375.11 | 357.02 | 372.84 | 368.3 | 371.13 | 370 | 354.21 | 371.7 | 376.25 | 377.39 | 360.39 | 370 | 371.7 | 366.03 | 362.64 | 12 | 968 | 0 | 18.23
22.03.19 17:26:08 | 7.88 | 353.09 | 351.97 | 371.7 | 374.54 | 354.21 | 363.77 | 378.53 | 375.68 | 368.86 | 375.11 | 357.02 | 372.84 | 368.86 | 371.13 | 370 | 354.21 | 371.13 | 376.25 | 378.53 | 360.39 | 371.7 | 371.13 | 366.03 | 361.52 | 12 | 968 | 0 | 18.23
22.03.19 17:26:23 | 8.13 | 351.97 | 351.42 | 371.7 | 373.97 | 352.53 | 363.21 | 377.96 | 373.97 | 367.73 | 374.54 | 356.46 | 371.7 | 367.73 | 370 | 369.43 | 353.65 | 371.13 | 375.11 | 377.96 | 360.39 | 370.56 | 370.56 | 366.03 | 361.52 | 12 | 968 | 0 | 18.22
22.03.19 17:26:38 | 8.38 | 351.42 | 351.97 | 371.7 | 373.97 | 353.65 | 363.21 | 377.96 | 375.68 | 367.73 | 374.54 | 357.02 | 372.27 | 367.73 | 370.56 | 369.43 | 354.21 | 371.13 | 375.68 | 377.96 | 360.39 | 370.56 | 370.56 | 366.03 | 361.52 | 12 | 968 | 0 | 18.22
22.03.19 17:26:53 | 8.63 | 350.3 | 350.3 | 371.13 | 373.97 | 351.97 | 363.77 | 377.96 | 374.54 | 366.6 | 374.54 | 356.46 | 372.27 | 367.73 | 371.13 | 370 | 353.65 | 371.13 | 375.68 | 377.96 | 360.39 | 371.13 | 370.56 | 364.9 | 360.95 | 12 | 968 | 0 | 18.22
22.03.19 17:27:08 | 8.88 | 349.74 | 349.74 | 371.7 | 373.4 | 351.42 | 362.64 | 377.39 | 374.54 | 367.16 | 373.97 | 355.89 | 370.56 | 367.73 | 370.56 | 368.86 | 353.65 | 371.13 | 375.11 | 377.96 | 359.83 | 371.13 | 370.56 | 365.47 | 361.52 | 12 | 968 | 0 | 18.2
22.03.19 17:27:23 | 9.13 | 349.18 | 349.74 | 371.13 | 373.4 | 351.42 | 363.21 | 376.25 | 373.97 | 366.03 | 373.97 | 355.89 | 370.56 | 367.16 | 370.56 | 368.86 | 353.65 | 371.13 | 376.25 | 377.39 | 359.83 | 370.56 | 370.56 | 366.03 | 361.52 | 12 | 968 | 0 | 18.2
22.03.19 17:27:38 | 9.38 | 349.18 | 349.74 | 370.56 | 372.84 | 350.3 | 362.64 | 376.82 | 373.97 | 366.6 | 374.54 | 355.33 | 371.13 | 367.16 | 370.56 | 368.3 | 353.09 | 371.13 | 375.11 | 377.39 | 360.39 | 370 | 369.43 | 365.47 | 360.95 | 12 | 968 | 0 | 18.2
22.03.19 17:27:53 | 9.63 | 348.62 | 348.62 | 370.56 | 372.84 | 349.18 | 361.52 | 376.25 | 372.27 | 365.47 | 373.4 | 354.77 | 370 | 366.03 | 369.43 | 367.73 | 352.53 | 370.56 | 375.11 | 376.82 | 359.83 | 369.43 | 370 | 365.47 | 360.39 | 12 | 968 | 0 | 18.18
22.03.19 17:28:08 | 9.88 | 348.07 | 348.62 | 370 | 372.84 | 348.62 | 362.08 | 376.25 | 372.84 | 365.47 | 372.84 | 354.77 | 370 | 366.6 | 370 | 368.3 | 352.53 | 370.56 | 374.54 | 376.82 | 358.7 | 369.43 | 369.43 | 364.9 | 360.39 | 12 | 968 | 0 | 18.18
22.03.19 17:28:23 | 10.13 | 346.95 | 347.51 | 369.43 | 371.7 | 348.62 | 360.95 | 375.11 | 372.27 | 364.34 | 372.27 | 353.65 | 368.86 | 366.6 | 369.43 | 367.73 | 351.97 | 369.43 | 374.54 | 376.25 | 358.7 | 368.86 | 370 | 364.34 | 359.83 | 12 | 968 | 0 | 18.16
22.03.19 17:28:38 | 10.38 | 346.39 | 347.51 | 369.43 | 372.27 | 348.07 | 360.95 | 375.68 | 372.84 | 364.9 | 372.84 | 353.65 | 369.43 | 366.03 | 369.43 | 367.16 | 352.53 | 370 | 374.54 | 376.82 | 358.7 | 368.86 | 370 | 364.9 | 359.83 | 12 | 968 | 0 | 18.15
22.03.19 17:28:53 | 10.63 | 346.39 | 346.95 | 369.43 | 371.13 | 347.51 | 361.52 | 375.68 | 371.7 | 364.34 | 372.27 | 353.65 | 369.43 | 366.6 | 369.43 | 367.16 | 352.53 | 369.43 | 374.54 | 376.25 | 359.27 | 368.86 | 368.86 | 364.9 | 360.39 | 12 | 968 | 0 | 18.13
22.03.19 17:29:08 | 10.88 | 345.84 | 346.39 | 369.43 | 371.7 | 346.95 | 360.95 | 375.68 | 371.7 | 363.77 | 372.27 | 353.65 | 368.86 | 365.47 | 368.86 | 366.6 | 351.42 | 369.43 | 373.97 | 376.82 | 358.7 | 369.43 | 368.86 | 364.9 | 360.95 | 12 | 968 | 0 | 18.11
22.03.19 17:29:23 | 11.13 | 345.84 | 345.28 | 369.43 | 371.13 | 346.39 | 360.95 | 375.68 | 372.27 | 364.34 | 371.7 | 353.09 | 369.43 | 365.47 | 368.86 | 366.6 | 351.97 | 369.43 | 374.54 | 376.25 | 358.7 | 369.43 | 369.43 | 364.9 | 360.39 | 12 | 968 | 0 | 18.11
22.03.19 17:29:38 | 11.38 | 345.28 | 345.84 | 368.86 | 371.13 | 345.84 | 360.39 | 374.54 | 371.13 | 363.21 | 371.7 | 351.97 | 368.3 | 365.47 | 368.3 | 366.03 | 351.97 | 368.86 | 373.97 | 375.68 | 357.58 | 368.86 | 368.86 | 363.77 | 359.83 | 12 | 968 | 0 | 18.11
22.03.19 17:29:53 | 11.63 | 344.17 | 345.28 | 368.86 | 370 | 345.28 | 360.95 | 374.54 | 371.13 | 363.21 | 371.7 | 352.53 | 368.86 | 366.03 | 368.86 | 366.6 | 351.42 | 369.43 | 374.54 | 376.25 | 358.7 | 369.43 | 369.43 | 364.9 | 359.83 | 12 | 968 | 0 | 18.09
22.03.19 17:30:08 | 11.88 | 344.17 | 345.28 | 368.86 | 370.56 | 344.72 | 360.95 | 374.54 | 371.13 | 362.64 | 371.7 | 351.42 | 367.73 | 365.47 | 368.3 | 365.47 | 351.42 | 369.43 | 373.97 | 375.68 | 358.14 | 369.43 | 368.3 | 364.9 | 359.83 | 12 | 968 | 0 | 18.07
22.03.19 17:30:23 | 12.13 | 343.06 | 343.61 | 367.73 | 370 | 343.61 | 359.83 | 373.4 | 370 | 362.08 | 370.56 | 350.3 | 367.16 | 364.9 | 367.73 | 365.47 | 350.86 | 368.3 | 373.4 | 375.68 | 357.58 | 368.86 | 368.86 | 363.77 | 358.14 | 12 | 968 | 0 | 18.07
22.03.19 17:30:38 | 12.38 | 343.06 | 344.17 | 368.3 | 370.56 | 344.17 | 359.83 | 374.54 | 370.56 | 362.64 | 371.13 | 351.97 | 367.73 | 364.9 | 368.3 | 365.47 | 350.86 | 368.86 | 373.97 | 375.11 | 358.14 | 368.86 | 368.86 | 364.34 | 359.27 | 12 | 968 | 0 | 18.06
22.03.19 17:30:53 | 12.63 | 342.5 | 343.06 | 368.3 | 370.56 | 343.61 | 359.83 | 373.4 | 370.56 | 362.08 | 371.13 | 350.86 | 367.73 | 365.47 | 368.3 | 366.03 | 351.42 | 368.86 | 373.97 | 375.68 | 357.58 | 368.86 | 369.43 | 364.34 | 358.7 | 12 | 968 | 0 | 18.04
22.03.19 17:31:08 | 12.88 | 341.95 | 341.95 | 367.73 | 370 | 343.06 | 359.83 | 373.97 | 370 | 361.52 | 370 | 350.86 | 367.73 | 364.9 | 368.3 | 365.47 | 351.42 | 368.86 | 373.4 | 375.68 | 357.58 | 368.3 | 368.3 | 363.77 | 359.27 | 12 | 968 | 0 | 18.02
22.03.19 17:31:23 | 13.13 | 341.39 | 342.5 | 367.16 | 370 | 341.95 | 358.7 | 373.4 | 370 | 361.52 | 370 | 350.3 | 367.16 | 364.34 | 367.73 | 364.9 | 350.3 | 368.86 | 373.97 | 375.68 | 357.58 | 368.86 | 368.3 | 363.77 | 359.27 | 12 | 968 | 0 | 18.02
22.03.19 17:31:38 | 13.38 | 340.84 | 341.95 | 367.73 | 369.43 | 341.95 | 359.27 | 373.4 | 370 | 360.95 | 370 | 350.3 | 367.16 | 364.9 | 367.16 | 366.03 | 350.86 | 368.86 | 373.4 | 375.11 | 358.14 | 367.73 | 368.3 | 363.21 | 359.27 | 12 | 968 | 0 | 18
22.03.19 17:31:53 | 13.63 | 340.28 | 341.39 | 367.16 | 368.86 | 340.84 | 358.14 | 372.84 | 369.43 | 359.83 | 369.43 | 349.18 | 366.6 | 363.77 | 366.6 | 364.9 | 350.3 | 367.73 | 372.84 | 375.11 | 356.46 | 368.3 | 367.73 | 363.21 | 358.7 | 12 | 968 | 0 | 18
22.03.19 17:32:08 | 13.88 | 340.28 | 341.39 | 367.16 | 368.3 | 340.84 | 358.14 | 372.27 | 368.86 | 360.39 | 368.86 | 348.62 | 366.03 | 363.77 | 367.16 | 364.9 | 350.86 | 368.3 | 372.84 | 375.68 | 355.89 | 367.16 | 367.73 | 362.64 | 357.58 | 12 | 968 | 0 | 17.97
22.03.19 17:32:24 | 14.15 | 339.18 | 340.28 | 366.6 | 367.73 | 339.18 | 357.58 | 372.27 | 368.86 | 359.83 | 368.86 | 348.62 | 366.03 | 363.77 | 367.16 | 364.34 | 350.3 | 367.73 | 372.27 | 374.54 | 356.46 | 367.16 | 367.16 | 362.64 | 358.7 | 12 | 968 | 0 | 17.95
22.03.19 17:32:39 | 14.4 | 339.18 | 339.18 | 366.03 | 367.73 | 339.73 | 357.58 | 372.27 | 368.3 | 359.27 | 368.3 | 348.62 | 366.03 | 363.77 | 366.6 | 364.34 | 350.3 | 367.73 | 372.27 | 375.11 | 357.02 | 367.73 | 367.16 | 362.64 | 357.58 | 12 | 968 | 0 | 17.95
22.03.19 17:32:54 | 14.65 | 339.18 | 339.73 | 366.6 | 368.3 | 339.73 | 357.02 | 372.27 | 368.86 | 359.27 | 368.86 | 347.51 | 366.6 | 364.34 | 367.16 | 364.34 | 350.3 | 368.3 | 372.84 | 373.97 | 355.89 | 367.16 | 367.73 | 362.64 | 358.14 | 12 | 968 | 0 | 17.93
22.03.19 17:33:09 | 14.9 | 338.62 | 339.18 | 366.03 | 368.3 | 338.62 | 357.58 | 372.27 | 368.86 | 359.27 | 368.3 | 347.51 | 365.47 | 363.21 | 366.6 | 364.34 | 350.3 | 367.16 | 372.27 | 375.11 | 355.89 | 367.73 | 367.16 | 362.64 | 357.58 | 12 | 968 | 0 | 17.91
22.03.19 17:33:24 | 15.15 | 338.07 | 338.62 | 366.03 | 367.73 | 338.07 | 357.58 | 372.27 | 368.3 | 359.83 | 369.43 | 347.51 | 365.47 | 363.21 | 366.6 | 363.77 | 350.3 | 367.73 | 372.27 | 374.54 | 356.46 | 368.3 | 367.16 | 362.64 | 357.58 | 12 | 968 | 0 | 17.9
22.03.19 17:33:39 | 15.4 | 338.07 | 338.62 | 365.47 | 367.73 | 338.07 | 357.02 | 371.7 | 368.86 | 358.7 | 368.3 | 346.39 | 365.47 | 363.21 | 366.6 | 364.9 | 349.18 | 367.73 | 372.27 | 373.97 | 355.89 | 367.73 | 367.16 | 362.08 | 358.14 | 12 | 968 | 0 | 17.89
22.03.19 17:33:54 | 15.65 | 337.52 | 338.07 | 365.47 | 367.16 | 336.96 | 357.58 | 371.13 | 368.3 | 358.14 | 368.3 | 346.39 | 364.9 | 363.77 | 366.6 | 364.34 | 349.18 | 367.73 | 372.27 | 375.11 | 355.89 | 367.73 | 367.16 | 362.08 | 357.58 | 12 | 968 | 0 | 17.86
22.03.19 17:34:09 | 15.9 | 336.96 | 337.52 | 364.9 | 367.16 | 336.41 | 356.46 | 371.13 | 367.73 | 357.58 | 367.16 | 346.39 | 364.9 | 363.21 | 366.03 | 363.77 | 349.18 | 367.16 | 371.7 | 373.97 | 354.77 | 366.6 | 367.16 | 362.08 | 357.58 | 12 | 968 | 0 | 17.84
22.03.19 17:34:24 | 16.15 | 335.86 | 336.96 | 364.9 | 367.16 | 335.31 | 355.89 | 370.56 | 367.16 | 357.58 | 367.73 | 345.84 | 365.47 | 362.08 | 366.03 | 363.77 | 349.18 | 366.6 | 371.7 | 373.97 | 355.33 | 366.6 | 366.6 | 361.52 | 357.02 | 12 | 968 | 0 | 17.84
22.03.19 17:34:39 | 16.4 | 335.86 | 336.41 | 364.9 | 366.6 | 335.31 | 355.89 | 370 | 367.73 | 357.58 | 367.73 | 345.84 | 364.34 | 362.64 | 366.03 | 363.77 | 349.74 | 366.6 | 371.13 | 373.4 | 354.77 | 366.03 | 366.6 | 362.08 | 357.02 | 12 | 968 | 0 | 17.84
22.03.19 17:34:55 | 16.67 | 335.86 | 335.86 | 364.9 | 366.6 | 335.31 | 356.46 | 371.13 | 367.73 | 357.58 | 367.16 | 345.84 | 363.77 | 362.64 | 366.03 | 363.77 | 349.18 | 367.73 | 371.7 | 374.54 | 354.77 | 367.16 | 366.6 | 362.08 | 357.02 | 12 | 968 | 0 | 17.81
22.03.19 17:35:10 | 16.92 | 334.2 | 335.31 | 363.77 | 366.03 | 334.2 | 355.33 | 369.43 | 366.6 | 357.02 | 367.16 | 344.17 | 364.34 | 362.64 | 366.03 | 362.64 | 348.62 | 365.47 | 371.13 | 372.84 | 354.77 | 366.6 | 365.47 | 361.52 | 357.58 | 12 | 968 | 0 | 17.79
22.03.19 17:35:26 | 17.18 | 334.2 | 335.86 | 363.77 | 366.03 | 334.2 | 355.89 | 369.43 | 366.6 | 357.02 | 367.16 | 344.72 | 364.34 | 362.64 | 365.47 | 363.21 | 349.18 | 366.6 | 370.56 | 373.97 | 355.89 | 366.6 | 366.03 | 362.08 | 356.46 | 12 | 968 | 0 | 17.77
22.03.19 17:35:41 | 17.43 | 333.65 | 334.75 | 363.77 | 366.03 | 333.1 | 355.33 | 369.43 | 366.03 | 355.89 | 366.6 | 343.61 | 363.77 | 362.08 | 366.03 | 363.21 | 348.62 | 366.6 | 370.56 | 372.27 | 354.21 | 366.03 | 365.47 | 360.95 | 356.46 | 12 | 968 | 0 | 17.75
22.03.19 17:35:57 | 17.7 | 333.65 | 335.31 | 363.77 | 366.03 | 333.65 | 355.33 | 369.43 | 366.6 | 356.46 | 367.16 | 343.61 | 363.77 | 361.52 | 366.03 | 363.21 | 349.18 | 366.6 | 371.13 | 373.4 | 354.77 | 366.6 | 366.03 | 361.52 | 357.02 | 12 | 968 | 0 | 17.73
22.03.19 17:36:12 | 17.95 | 333.1 | 333.65 | 363.21 | 365.47 | 333.1 | 354.77 | 369.43 | 366.03 | 355.89 | 366.6 | 343.06 | 363.77 | 362.08 | 365.47 | 362.64 | 348.62 | 366.03 | 370.56 | 372.84 | 354.21 | 366.03 | 364.9 | 361.52 | 355.89 | 12 | 968 | 0 | 17.72
22.03.19 17:36:27 | 18.2 | 332 | 333.65 | 363.21 | 364.9 | 331.45 | 354.21 | 369.43 | 365.47 | 354.77 | 365.47 | 343.06 | 362.64 | 361.52 | 364.34 | 362.64 | 347.51 | 364.9 | 370 | 372.84 | 353.65 | 365.47 | 364.9 | 360.95 | 355.89 | 12 | 968 | 0 | 17.7
22.03.19 17:36:43 | 18.47 | 332 | 333.1 | 362.64 | 364.34 | 331.45 | 354.21 | 368.86 | 365.47 | 354.77 | 365.47 | 341.39 | 363.21 | 361.52 | 364.9 | 362.08 | 347.51 | 364.9 | 370 | 372.27 | 354.21 | 365.47 | 364.9 | 360.39 | 355.89 | 12 | 968 | 0 | 17.68
22.03.19 17:37:00 | 18.75 | 331.45 | 332.55 | 363.21 | 364.9 | 330.9 | 353.65 | 368.86 | 366.03 | 355.33 | 365.47 | 342.5 | 362.64 | 361.52 | 363.77 | 362.64 | 348.07 | 365.47 | 370.56 | 372.27 | 353.65 | 365.47 | 364.9 | 360.95 | 355.89 | 12 | 968 | 0 | 17.68
22.03.19 17:37:15 | 19 | 330.35 | 331.45 | 362.64 | 364.34 | 330.35 | 354.21 | 368.3 | 365.47 | 354.77 | 364.9 | 341.39 | 362.08 | 360.95 | 364.34 | 361.52 | 346.95 | 365.47 | 369.43 | 372.27 | 352.53 | 364.9 | 364.34 | 359.83 | 355.33 | 12 | 968 | 0 | 17.65
22.03.19 17:37:48 | 19.55 | 329.8 | 331.45 | 361.52 | 364.34 | 329.8 | 353.09 | 368.3 | 364.9 | 354.21 | 364.9 | 340.84 | 362.08 | 360.95 | 363.77 | 361.52 | 347.51 | 364.9 | 370 | 359.27 | 353.65 | 364.9 | 363.77 | 359.83 | 329.8 | 12 | 968 | 0 | 609.99
22.03.19 17:37:46 | 19.52 | 329.25 | 331.45 | 362.08 | 363.21 | 329.8 | 353.65 | 368.3 | 364.9 | 354.21 | 365.47 | 340.84 | 362.64 | 360.39 | 364.34 | 362.08 | 347.51 | 365.47 | 369.43 | 372.84 | 353.09 | 364.9 | 364.34 | 359.83 | 354.77 | 12 | 968 | 0 | 17.64
22.03.19 17:38:01 | 19.77 | 328.7 | 330.35 | 361.52 | 363.21 | 329.25 | 353.09 | 367.16 | 364.34 | 353.65 | 364.34 | 339.73 | 360.95 | 360.39 | 362.64 | 360.95 | 347.51 | 364.34 | 368.86 | 371.7 | 351.97 | 364.34 | 363.21 | 359.27 | 355.33 | 12 | 968 | 0 | 17.64
22.03.19 17:38:16 | 20.02 | 328.7 | 329.8 | 361.52 | 363.21 | 328.15 | 353.09 | 367.16 | 363.77 | 353.09 | 364.34 | 338.62 | 360.95 | 359.83 | 363.21 | 360.95 | 346.95 | 363.77 | 369.43 | 371.13 | 351.42 | 364.34 | 363.77 | 359.83 | 354.77 | 12 | 968 | 0 | 17.61
22.03.19 17:38:31 | 20.27 | 328.15 | 330.35 | 361.52 | 363.21 | 328.15 | 352.53 | 367.73 | 364.34 | 352.53 | 364.9 | 339.73 | 362.08 | 360.39 | 363.21 | 361.52 | 346.39 | 364.34 | 369.43 | 371.13 | 352.53 | 364.34 | 363.77 | 359.83 | 354.77 | 12 | 968 | 0 | 17.59
22.03.19 17:38:46 | 20.52 | 327.05 | 329.8 | 360.95 | 362.64 | 328.15 | 352.53 | 366.6 | 363.77 | 353.09 | 364.34 | 338.62 | 360.95 | 360.95 | 362.64 | 361.52 | 346.95 | 364.34 | 369.43 | 371.13 | 351.97 | 364.34 | 363.21 | 359.27 | 354.77 | 12 | 968 | 0 | 17.57
22.03.19 17:39:01 | 20.77 | 327.05 | 329.25 | 360.95 | 362.08 | 326.5 | 351.97 | 366.6 | 364.34 | 352.53 | 363.21 | 339.18 | 360.39 | 359.83 | 362.64 | 360.95 | 346.39 | 363.21 | 368.86 | 371.13 | 351.42 | 363.77 | 363.21 | 358.7 | 354.21 | 12 | 968 | 0 | 17.56
22.03.19 17:39:16 | 21.02 | 327.05 | 329.25 | 360.95 | 362.64 | 327.05 | 352.53 | 366.6 | 364.34 | 352.53 | 363.77 | 338.07 | 360.95 | 360.39 | 363.21 | 360.95 | 346.39 | 364.34 | 369.43 | 371.13 | 351.97 | 364.34 | 363.77 | 359.27 | 354.77 | 12 | 968 | 0 | 17.52
22.03.19 17:39:31 | 21.27 | 326.5 | 328.7 | 360.95 | 362.64 | 326.5 | 353.09 | 367.16 | 363.21 | 352.53 | 363.77 | 338.62 | 360.95 | 359.83 | 362.64 | 360.95 | 345.84 | 363.21 | 368.86 | 371.13 | 351.97 | 364.9 | 363.77 | 358.7 | 354.77 | 12 | 968 | 0 | 17.5
22.03.19 17:39:47 | 21.53 | 325.96 | 328.15 | 360.95 | 362.64 | 325.96 | 351.97 | 366.6 | 363.77 | 352.53 | 362.64 | 338.07 | 360.95 | 359.27 | 363.21 | 360.95 | 345.84 | 363.21 | 367.73 | 371.13 | 351.97 | 363.21 | 362.64 | 358.14 | 354.77 | 12 | 968 | 0 | 17.5
22.03.19 17:40:02 | 21.78 | 324.86 | 327.6 | 360.39 | 362.08 | 324.86 | 351.97 | 366.03 | 363.21 | 351.42 | 363.21 | 337.52 | 360.39 | 359.27 | 362.64 | 360.39 | 345.84 | 363.77 | 368.3 | 371.13 | 351.97 | 363.77 | 363.77 | 358.14 | 354.21 | 12 | 968 | 0 | 17.47
22.03.19 17:40:17 | 22.03 | 324.86 | 327.05 | 359.83 | 361.52 | 324.31 | 350.86 | 365.47 | 363.21 | 350.86 | 362.64 | 337.52 | 359.83 | 359.27 | 362.64 | 360.39 | 345.84 | 362.64 | 367.16 | 370 | 350.3 | 363.77 | 362.64 | 358.7 | 353.65 | 12 | 968 | 0 | 17.45
22.03.19 17:40:34 | 22.32 | 323.76 | 327.05 | 360.39 | 361.52 | 324.86 | 350.86 | 366.03 | 362.64 | 350.3 | 362.64 | 336.96 | 359.83 | 359.27 | 362.08 | 359.83 | 345.84 | 363.77 | 367.73 | 370.56 | 350.86 | 363.21 | 362.64 | 358.7 | 353.65 | 12 | 968 | 0 | 17.41
22.03.19 17:40:49 | 22.57 | 323.76 | 326.5 | 359.83 | 360.95 | 324.31 | 350.86 | 364.9 | 362.64 | 350.86 | 362.64 | 336.96 | 359.83 | 359.27 | 362.08 | 359.27 | 346.39 | 363.21 | 367.73 | 370 | 350.86 | 363.21 | 362.08 | 358.14 | 353.65 | 12 | 968 | 0 | 17.39
22.03.19 17:41:04 | 22.82 | 323.76 | 325.96 | 359.27 | 360.95 | 323.22 | 349.74 | 365.47 | 362.64 | 350.3 | 362.08 | 336.41 | 359.27 | 358.7 | 361.52 | 359.83 | 345.28 | 362.64 | 367.16 | 369.43 | 350.86 | 362.64 | 361.52 | 357.58 | 353.09 | 12 | 968 | 0 | 17.38
22.03.19 17:41:19 | 23.07 | 322.12 | 325.41 | 358.7 | 360.95 | 323.22 | 349.74 | 364.34 | 361.52 | 349.18 | 361.52 | 336.41 | 358.7 | 358.7 | 361.52 | 359.27 | 345.84 | 363.21 | 367.16 | 368.86 | 350.3 | 362.64 | 362.08 | 357.58 | 352.53 | 12 | 968 | 0 | 17.36
22.03.19 17:41:35 | 23.33 | 322.67 | 324.86 | 358.7 | 360.39 | 322.12 | 349.18 | 364.34 | 361.52 | 349.74 | 362.08 | 335.31 | 358.14 | 358.14 | 360.95 | 358.7 | 344.72 | 362.08 | 367.16 | 369.43 | 349.74 | 362.64 | 360.95 | 357.02 | 352.53 | 12 | 968 | 0 | 17.34
22.03.19 17:41:50 | 23.58 | 321.58 | 323.76 | 358.7 | 360.39 | 321.58 | 349.18 | 364.34 | 361.52 | 349.18 | 360.95 | 335.31 | 357.58 | 358.14 | 360.95 | 359.27 | 345.28 | 362.64 | 366.6 | 368.86 | 349.74 | 362.08 | 361.52 | 357.02 | 351.97 | 12 | 968 | 0 | 17.34
22.03.19 17:42:06 | 23.85 | 321.58 | 323.22 | 358.14 | 359.83 | 321.03 | 348.62 | 363.77 | 360.95 | 348.62 | 360.95 | 334.2 | 358.14 | 357.58 | 360.95 | 358.7 | 344.72 | 361.52 | 366.6 | 369.43 | 348.62 | 362.08 | 360.39 | 356.46 | 352.53 | 12 | 968 | 0 | 17.32
22.03.19 17:42:21 | 24.1 | 322.12 | 323.22 | 358.14 | 359.27 | 321.03 | 348.07 | 363.77 | 360.95 | 348.62 | 360.95 | 333.65 | 357.58 | 358.14 | 360.95 | 358.7 | 344.17 | 361.52 | 366.6 | 368.3 | 348.62 | 362.08 | 360.39 | 357.58 | 351.42 | 12 | 968 | 0 | 17.29
22.03.19 17:42:36 | 24.35 | 321.03 | 323.22 | 358.14 | 360.39 | 320.49 | 348.62 | 363.77 | 360.39 | 348.62 | 360.39 | 334.2 | 358.14 | 358.14 | 360.39 | 358.7 | 344.72 | 361.52 | 366.6 | 368.86 | 349.18 | 361.52 | 360.95 | 356.46 | 352.53 | 12 | 968 | 0 | 17.29
22.03.19 17:42:51 | 24.6 | 320.49 | 323.22 | 358.14 | 359.27 | 319.94 | 348.07 | 363.21 | 361.52 | 348.07 | 360.95 | 333.1 | 357.58 | 357.58 | 360.95 | 358.7 | 344.17 | 362.08 | 366.6 | 368.3 | 349.18 | 361.52 | 360.95 | 356.46 | 352.53 | 12 | 968 | 0 | 17.25
22.03.19 17:43:06 | 24.85 | 320.49 | 322.67 | 357.58 | 359.27 | 319.4 | 347.51 | 363.21 | 359.83 | 348.07 | 359.83 | 333.1 | 357.58 | 357.58 | 360.39 | 358.14 | 344.17 | 361.52 | 366.03 | 368.3 | 348.07 | 361.52 | 359.83 | 355.89 | 351.97 | 12 | 968 | 0 | 17.23
22.03.19 17:43:21 | 25.1 | 319.94 | 322.12 | 357.02 | 358.7 | 318.85 | 346.39 | 363.21 | 359.83 | 347.51 | 359.83 | 332.55 | 357.02 | 357.02 | 359.83 | 358.7 | 344.17 | 360.39 | 365.47 | 368.3 | 348.07 | 360.95 | 359.83 | 355.89 | 351.97 | 12 | 968 | 0 | 17.22
22.03.19 17:43:36 | 25.35 | 319.94 | 321.58 | 356.46 | 358.7 | 318.31 | 346.39 | 362.64 | 359.83 | 347.51 | 359.83 | 332 | 356.46 | 356.46 | 359.83 | 357.58 | 343.61 | 360.39 | 365.47 | 368.3 | 348.07 | 360.95 | 359.27 | 356.46 | 350.86 | 12 | 968 | 0 | 17.2
22.03.19 17:43:51 | 25.6 | 319.4 | 322.12 | 357.58 | 358.7 | 318.85 | 346.95 | 363.21 | 360.39 | 348.07 | 359.83 | 333.1 | 357.02 | 357.02 | 359.83 | 358.14 | 344.17 | 361.52 | 365.47 | 368.3 | 349.18 | 361.52 | 359.83 | 355.33 | 351.42 | 12 | 968 | 0 | 17.18
22.03.19 17:44:06 | 25.85 | 318.85 | 321.03 | 356.46 | 358.14 | 317.76 | 345.84 | 362.64 | 359.83 | 346.95 | 359.27 | 332 | 356.46 | 356.46 | 359.83 | 358.14 | 344.17 | 360.95 | 365.47 | 367.73 | 347.51 | 359.83 | 359.83 | 354.21 | 350.86 | 12 | 968 | 0 | 17.18
22.03.19 17:44:21 | 26.1 | 318.31 | 319.94 | 355.89 | 357.02 | 316.13 | 345.28 | 361.52 | 359.83 | 346.95 | 358.7 | 331.45 | 355.89 | 356.46 | 359.27 | 357.02 | 343.06 | 359.83 | 364.9 | 367.73 | 348.07 | 360.39 | 359.83 | 355.33 | 351.42 | 12 | 968 | 0 | 17.14
22.03.19 17:44:36 | 26.35 | 317.76 | 319.94 | 355.89 | 358.14 | 316.67 | 345.28 | 361.52 | 358.7 | 345.28 | 358.7 | 330.9 | 355.89 | 356.46 | 359.83 | 357.58 | 342.5 | 360.39 | 364.9 | 366.6 | 346.95 | 359.83 | 359.83 | 355.33 | 350.86 | 12 | 968 | 0 | 17.13
22.03.19 17:44:51 | 26.6 | 317.22 | 319.4 | 355.89 | 357.58 | 316.13 | 345.28 | 362.08 | 359.83 | 345.28 | 358.7 | 330.9 | 355.33 | 356.46 | 358.7 | 357.58 | 343.06 | 360.39 | 364.9 | 367.73 | 347.51 | 359.83 | 359.27 | 354.21 | 350.3 | 12 | 968 | 0 | 17.11
22.03.19 17:45:06 | 26.85 | 316.67 | 318.85 | 355.33 | 357.58 | 315.59 | 344.72 | 361.52 | 358.14 | 345.28 | 358.14 | 330.35 | 354.77 | 355.89 | 358.7 | 357.02 | 343.06 | 359.27 | 364.34 | 367.16 | 346.95 | 360.39 | 358.7 | 354.77 | 350.3 | 12 | 968 | 0 | 17.09
22.03.19 17:45:21 | 27.1 | 316.67 | 318.85 | 355.33 | 357.02 | 315.59 | 343.61 | 361.52 | 358.14 | 344.72 | 358.14 | 330.9 | 355.33 | 355.89 | 358.14 | 356.46 | 343.06 | 359.83 | 364.34 | 366.6 | 346.39 | 359.27 | 358.14 | 354.21 | 350.3 | 12 | 968 | 0 | 17.07
22.03.19 17:45:36 | 27.35 | 316.13 | 317.22 | 354.77 | 357.02 | 313.96 | 343.06 | 360.95 | 358.14 | 344.72 | 357.58 | 329.8 | 354.21 | 355.89 | 358.7 | 356.46 | 342.5 | 359.27 | 363.21 | 366.6 | 346.39 | 359.27 | 358.7 | 354.21 | 349.74 | 12 | 968 | 0 | 17.06
22.03.19 17:45:51 | 27.6 | 315.59 | 317.22 | 354.21 | 356.46 | 313.96 | 343.06 | 360.95 | 357.02 | 344.17 | 357.02 | 329.25 | 354.77 | 354.77 | 358.14 | 356.46 | 342.5 | 359.27 | 363.77 | 365.47 | 346.39 | 358.7 | 358.14 | 354.77 | 349.74 | 12 | 968 | 0 | 17.02
22.03.19 17:46:06 | 27.85 | 315.59 | 317.76 | 354.77 | 357.02 | 314.5 | 343.61 | 360.95 | 357.58 | 344.72 | 357.58 | 329.8 | 354.21 | 354.77 | 358.7 | 356.46 | 342.5 | 359.27 | 364.34 | 366.03 | 346.95 | 359.83 | 358.14 | 353.65 | 349.74 | 12 | 968 | 0 | 17.02
22.03.19 17:46:21 | 28.1 | 314.5 | 316.67 | 354.21 | 357.02 | 313.96 | 342.5 | 360.95 | 357.58 | 344.17 | 358.14 | 329.25 | 354.21 | 354.77 | 358.14 | 355.89 | 342.5 | 359.27 | 364.34 | 366.03 | 345.84 | 359.27 | 358.14 | 353.65 | 349.74 | 12 | 968 | 0 | 17
22.03.19 17:46:36 | 28.35 | 314.5 | 317.22 | 353.65 | 355.89 | 312.87 | 341.95 | 359.83 | 357.58 | 343.61 | 357.02 | 328.7 | 353.65 | 354.77 | 358.14 | 355.89 | 341.95 | 359.27 | 363.77 | 366.03 | 345.84 | 359.27 | 357.58 | 354.21 | 349.18 | 12 | 968 | 0 | 16.97
22.03.19 17:46:52 | 28.62 | 314.5 | 316.13 | 354.21 | 355.89 | 312.33 | 341.95 | 359.83 | 357.02 | 343.61 | 356.46 | 328.15 | 353.65 | 355.33 | 358.14 | 355.89 | 341.95 | 358.14 | 363.77 | 365.47 | 346.39 | 358.7 | 358.14 | 353.09 | 349.18 | 12 | 968 | 0 | 16.95
22.03.19 17:47:07 | 28.87 | 313.96 | 316.13 | 353.65 | 355.89 | 312.33 | 341.95 | 359.83 | 357.58 | 343.61 | 356.46 | 328.15 | 354.21 | 354.77 | 358.14 | 355.89 | 341.95 | 358.7 | 363.77 | 366.03 | 345.84 | 358.14 | 358.14 | 352.53 | 349.18 | 12 | 968 | 0 | 16.93
22.03.19 17:47:22 | 29.12 | 313.41 | 315.04 | 353.65 | 355.33 | 310.7 | 341.39 | 359.27 | 356.46 | 343.06 | 356.46 | 328.15 | 353.09 | 354.21 | 357.58 | 355.33 | 341.95 | 358.7 | 363.21 | 365.47 | 344.72 | 358.7 | 357.02 | 353.65 | 348.62 | 12 | 968 | 0 | 16.91
22.03.19 17:47:37 | 29.37 | 312.87 | 315.59 | 353.09 | 355.33 | 310.7 | 340.28 | 359.27 | 356.46 | 343.06 | 355.89 | 327.6 | 353.09 | 354.77 | 357.02 | 355.33 | 341.39 | 358.7 | 362.64 | 364.9 | 344.72 | 358.7 | 357.02 | 352.53 | 348.62 | 12 | 968 | 0 | 16.89
22.03.19 17:47:52 | 29.62 | 312.87 | 315.04 | 353.09 | 353.65 | 310.16 | 339.73 | 358.7 | 355.89 | 342.5 | 355.33 | 327.05 | 352.53 | 353.65 | 357.02 | 354.77 | 340.84 | 357.02 | 362.08 | 364.34 | 344.17 | 357.58 | 356.46 | 351.97 | 348.07 | 12 | 968 | 0 | 16.88
22.03.19 17:48:07 | 29.87 | 312.33 | 314.5 | 353.09 | 354.77 | 309.62 | 340.28 | 358.14 | 356.46 | 341.95 | 355.89 | 327.6 | 352.53 | 354.21 | 356.46 | 355.33 | 340.84 | 357.58 | 362.08 | 364.9 | 344.72 | 358.14 | 357.02 | 353.09 | 348.07 | 12 | 968 | 0 | 16.86
22.03.19 17:48:22 | 30.12 | 312.87 | 314.5 | 353.09 | 354.77 | 310.7 | 339.73 | 359.27 | 355.89 | 342.5 | 355.33 | 327.05 | 353.65 | 354.21 | 356.46 | 354.77 | 340.84 | 358.14 | 362.64 | 365.47 | 344.72 | 357.58 | 356.46 | 351.97 | 348.62 | 12 | 968 | 0 | 16.84
22.03.19 17:48:37 | 30.37 | 311.79 | 313.41 | 352.53 | 353.65 | 309.08 | 339.18 | 358.14 | 355.33 | 341.95 | 355.33 | 326.5 | 352.53 | 353.09 | 355.89 | 354.21 | 340.84 | 357.58 | 362.08 | 364.34 | 343.61 | 357.58 | 356.46 | 351.97 | 348.07 | 12 | 968 | 0 | 16.82
22.03.19 17:48:52 | 30.62 | 311.24 | 312.87 | 352.53 | 354.21 | 308.54 | 339.18 | 358.7 | 355.33 | 341.39 | 354.77 | 325.96 | 351.97 | 353.65 | 355.89 | 354.77 | 340.84 | 357.02 | 362.08 | 363.77 | 343.61 | 357.58 | 356.46 | 351.97 | 348.07 | 12 | 968 | 0 | 16.79
22.03.19 17:49:07 | 30.87 | 310.7 | 312.33 | 351.42 | 353.09 | 308 | 338.62 | 357.02 | 355.33 | 340.84 | 354.77 | 325.96 | 351.97 | 352.53 | 355.89 | 354.21 | 339.73 | 356.46 | 361.52 | 363.77 | 342.5 | 357.02 | 355.89 | 351.42 | 346.39 | 12 | 968 | 0 | 16.77
22.03.19 17:49:22 | 31.12 | 310.7 | 311.79 | 351.42 | 353.09 | 308 | 338.62 | 357.58 | 354.21 | 340.28 | 354.21 | 325.96 | 351.42 | 352.53 | 355.89 | 353.65 | 339.73 | 356.46 | 360.95 | 363.21 | 342.5 | 357.58 | 355.89 | 351.97 | 348.07 | 12 | 968 | 0 | 16.75
22.03.19 17:49:37 | 31.37 | 310.7 | 311.79 | 351.42 | 353.09 | 306.38 | 338.07 | 357.02 | 354.21 | 340.84 | 354.21 | 325.96 | 350.86 | 352.53 | 355.89 | 353.65 | 339.73 | 357.02 | 360.95 | 363.21 | 342.5 | 357.02 | 355.33 | 351.42 | 346.95 | 12 | 968 | 0 | 16.72
22.03.19 17:49:52 | 31.62 | 309.62 | 311.79 | 350.86 | 353.09 | 306.92 | 337.52 | 357.02 | 354.21 | 340.28 | 354.21 | 324.86 | 350.86 | 352.53 | 354.77 | 353.09 | 339.73 | 356.46 | 361.52 | 363.77 | 343.06 | 357.02 | 355.33 | 351.42 | 346.95 | 12 | 968 | 0 | 16.72
22.03.19 17:50:07 | 31.87 | 309.08 | 310.7 | 350.86 | 352.53 | 305.84 | 336.96 | 356.46 | 353.65 | 340.28 | 354.21 | 325.41 | 350.86 | 351.97 | 355.33 | 352.53 | 339.18 | 356.46 | 360.95 | 363.21 | 342.5 | 357.02 | 354.77 | 350.86 | 346.95 | 12 | 968 | 0 | 16.7
22.03.19 17:50:22 | 32.12 | 308.54 | 310.7 | 350.86 | 351.97 | 305.3 | 336.96 | 356.46 | 354.21 | 340.28 | 353.09 | 324.31 | 350.3 | 351.42 | 354.77 | 353.09 | 339.18 | 355.89 | 360.95 | 363.21 | 342.5 | 355.89 | 355.33 | 350.3 | 346.39 | 12 | 968 | 0 | 16.68
22.03.19 17:50:37 | 32.37 | 308 | 309.62 | 350.3 | 351.42 | 304.22 | 336.41 | 355.89 | 353.09 | 339.18 | 353.09 | 323.76 | 350.3 | 351.42 | 354.21 | 352.53 | 338.62 | 355.33 | 360.39 | 362.08 | 341.95 | 355.89 | 353.65 | 350.3 | 345.28 | 12 | 968 | 0 | 16.65
22.03.19 17:50:52 | 32.62 | 308 | 310.16 | 349.74 | 351.97 | 304.22 | 335.31 | 355.89 | 353.09 | 338.62 | 353.09 | 324.31 | 350.3 | 351.42 | 354.21 | 353.09 | 338.62 | 355.33 | 360.39 | 362.08 | 342.5 | 354.77 | 354.77 | 350.3 | 345.84 | 12 | 968 | 0 | 16.63
22.03.19 17:51:07 | 32.87 | 308 | 309.08 | 349.74 | 351.97 | 303.68 | 335.31 | 355.89 | 352.53 | 338.07 | 352.53 | 323.76 | 350.3 | 351.42 | 353.65 | 352.53 | 339.18 | 355.33 | 360.39 | 362.64 | 341.39 | 355.89 | 354.77 | 350.3 | 345.84 | 12 | 968 | 0 | 16.63
22.03.19 17:51:22 | 33.12 | 306.92 | 308.54 | 349.74 | 351.97 | 303.14 | 335.31 | 355.89 | 353.09 | 338.62 | 353.09 | 323.76 | 350.3 | 350.86 | 353.65 | 352.53 | 339.18 | 354.77 | 359.83 | 361.52 | 341.95 | 355.89 | 354.21 | 350.3 | 346.39 | 12 | 968 | 0 | 16.59
22.03.19 17:51:37 | 33.37 |  | 308 | 349.74 | 351.42 | 303.68 | 334.75 | 355.33 | 353.09 | 338.62 | 352.53 | 323.22 | 349.74 | 350.86 | 354.21 | 351.97 | 338.07 | 354.77 | 360.39 | 362.08 | 340.84 | 354.77 | 353.65 |  | 345.84 | 12 | 968 | 0 | 16.57